## Slide 1: Time Resolved imaging
Micha Feigin – MIT
ITOF Workshop - Ein Gedi 2014

## Slide 2: Overview
Femto photography
Pose estimation through diffuser
Microwave camera

## Slide 3: Femto Photography

## Slide 4: 1964 - Harold E. Edgerton
834 m/s

## Slide 5: 2011 – Velten et al.

## Slide 6: The Streak camera

## Slide 7: The Streak Camera

## Slide 8: Application : Looking around the corner

## Slide 9: Experimental Setup
A mode-locked Titanium:Sapphire laser emits pulses
  Duration of 50 fs
  Repetition rate of 80 MHz
  Average power of 1W
Pulse train is focused and directed onto a holographic diffuser
  Controlled via a pair of computer-controlled galvanometer mirrors
72 different laser orientations are used
Streak camera is Hamamatsu C5680
  Records a single horizontal line view of the diffuser
  Time resolution of 2 ps
  Integration time of each streak image is 10s
  Each image has averaged pulses to improve SNR

## Slide 10: The streak camera model
Can be modelled as a single bounce
Virtual light source mapped to laser point on wall
Virtual (lens less) sensor by mapping camera to wall
Lambertian wall
Lambertian object
camera
Laser
Virtual pixel
Virtual light source

## Slide 11: The streak camera model
Lambertian wall
Lambertian object
camera
Laser
Virtual pixel
Virtual light source
x
t

## Slide 12: Looking around the corner
Hyperbolas actually represent 3D hyperboloids
Pixel seats at the peak of the hyperboloid
We want a 3D volume to reconstruct object
2D (XY) image achieved by steering laser -- based on light / camera duality
Reconstruction was achieved using filtered back projection

## Slide 13: pose estimation from scattered TOF data given shape priors
With Dan Raviv and Christopher Barsi

## Slide 14: The Setup

## Slide 15: Experimental Setup
Pulse train is focused and directed onto a holographic diffuser
  Controlled via a pair of computer-controlled galvanometer mirrors
  Gaussian diffuser of size 10cm by 10cm and STD of 8.8 (Edmund Optics, 65-886)
Ground truth is recorded with a FARO digitizer arm

## Slide 16: Pose estimation behind diffuser
One of several problems in subsurface imaging
A large number of samples is not feasible in many cases
Q: how much information can be reconstructed using few or single spatial measurement

## Slide 17: Pose estimation behind diffuser
Instead of imaging an unknown geometry
  Recover only spatial and angular position of an object
  Assume a prior on the geometry:
    Search for Humans in hazardous environments
    Track organs or tumors over time
    Surgical tool tracking
These techniques may also be used to extend super resolution flouro-microscopy to thick media

## Slide 18: Forward light model

## Slide 19: Cross modality ICP
We model the object by a set of points
Parameterize six unknowns
  Translations
  Euler angles
Error measure is metric between images
  We are not comparing surfaces / point clouds

## Slide 20: Experimental Results

## Slide 21: Microwave Pinhole Camera
With Gregory Charvatt, Andrew Temme and Ayush Bhandari

## Slide 22: The Setup
Wavelength is (at 10 GHz)
Aperture size set to 9.5cm ()

## Slide 23: Background
Problem:
Dielectric optics at 10GHz are expensive and difficult to build
On the other hand:
Antennas and electronics are relatively simple
Modulation frequencies and codes that are difficult to produce with a ToF camera
Real, time resolved imaging at low digitization rates
  Processing is done by emitting a chirp signal
  Multiplication done in hardware
  Time domain signal recovered by inverse Fourier transform

## Slide 24: FMCW Radar

## Slide 25: Time resolved video of cylinders

## Slide 26: Integration image of cylinders

## Slide 27: Time resolved (Max Response) of Bike

## Slide 28: Multi spectral time resolved video of cylinders

## Slide 29: Multi spectral time resolved video of cylinders

## Slide 30: Resolution limit
At 10GHz, highly diffraction limited
  Spot size (depends on distance to object)
More appropriate to mm wave and THz imaging

## Slide 31: The next stage – Time resolved video of push pins

## Slide 32: Spheres behind a drywall
Back illumination
Direct illumination