## Slide 1: Novel Methods of Resolving Multi-path in Time of Flight Cameras
Refael Whyte, Lee Streeter, Michael Cree, Adrian Dorrington.
The University of Waikato, New Zealand.

## Slide 2: New Zealand

## Slide 3: Time-of-Flight Background
Illuminate the scene, reflected light
Returning light correlated with reference signal
Cross-correlation is
S to recover 3 unknowns, so 3 samples required.
Can represent data as a complex variable

## Slide 4: Multi-Path Interference
Multi-path is caused by inter-reflections, subsurface scattering, mixed pixels and volumetric scattering
Actual Corner
Measured Corner
Corner Correct
Corner Measured

## Slide 5: Multi-path Interference
Can’t resolve using current measurements.
Multi-path adds on complex plane.
Real
Img

## Slide 6: Direct and Global Separation
Separate returns
Illuminate scene with checkerboard, and inverted checkerboard.

## Slide 7: Direct Global Separation Cont
The measured values are
In reality 25 frames used. 5 shifts in x, and 5 shifts in y for each x.

## Slide 8: Complex Direct Global Separation
Same principle, but using complex variables. Multi-path can be expressed as
Complex vectors add on complex plane.
Maximum and minimum become

## Slide 9: Complex Direct Global Separation
Because complex additional constraints
, or
Will fail assumptions.

## Slide 10: Equipment setup
Custom ToF camera attached to DMD based projector.
PMD19k3 Sensor, 120x160

## Slide 11: Results – Corner

## Slide 12: Results - Corner
Amplitude
Phase
Direct Amplitude
Global Amplitude
Direct Phase
Global Phase

## Slide 13: Direct Global Sinusoidal Pattern
Illuminate the scene with high frequency sinusoidal.
Light seen at each pixel over time is

## Slide 14: Direct Global Sinusoidal Pattern
The measured radiance is
Can find the unknowns with a discrete Fourier Transform.
DC
1st Frequency

## Slide 15: Direct Global Complex
The general formula is
Correlation function is a sinusoid
Can do frequency mixing
Resulting is mixing between 3 and 1.

## Slide 16: Direct Global Complex
The new correlation function between projector and time of flight, the mixing results in the following
End up with direct at frequency 2 and 4.
Using the Discrete Fourier transform the unknowns can be solved.

## Slide 17: Direct Global Complex
The equations for the unknowns are
Only require 9 samples

## Slide 18: Direct Global Complex
Only require 9 samples
Projector pattern and phase step changes between each frame.
Mixing the pattern shift frequency with the correlation shift frequency.

## Slide 19: Direct Global Complex - Data
Scene Photo
ToF Raw Frames
Projector Pattern
Combination

## Slide 20: Single Pixel Measurement

## Slide 21: Entire Image

## Slide 22: Entire Image

## Slide 23: Results 9Images – Bottles Corner
Amplitude
Shadow

## Slide 24: Results – Bottles Corner

## Slide 25: Results – Subsurface Scattering

## Slide 26: Issues
Odd harmonics in correlation function caused by using square waves.
3rd Harmonic is not an issues, 5th and higher orders are.
Linear response of projector. Non-linear introduces spurious harmonics.
Projector FoV and Camera FoV are different.
Specular reflections fail.

## Slide 27: Conclusion
Resolved errors due to multipath in time of flight cameras using direct global separation methods.
Requires 9 frames.
Does not resolve specular reflections.
Thanks to the MIT Media Lab.